## Slide 1: Project 28: Electronically Steerable Catheter
Zane Johnson, Matt Situmeang, Erin McFadden, Michael Pass, Tanner Karbonik
Notes: Matthew - Basic Introduction, Ad lib

## Slide 2: Background Knowledge (1/2)
A catheter is a long, tubular device used to access otherwise difficult to reach vasculature
Used in a number of different procedures:
  Drug delivery
  Balloon angioplasty
  Stent deployment
  Measuring fluid pressures in remote spaces
  Fluid drainage
Notes: Matthew - Just describing catheters in general.

## Slide 3: Background Knowledge (2/2)
Steerable catheters used for accessing remote vasculature with branching
System of tendons, soft distal material with rigid backbone, and control handle
Notes: Michael

## Slide 4
Notes: Michael - Define what a steerable catheter is.

## Slide 5: Approach
Initial research was conducted individually
Established master list of questions
  Narrowed down to focus on Need Statement
Mentors interviewed
  Medical Murray engineers
Interviews scheduled with physicians at Iowa Heart Center at Mercy Hospital
Notes: Tanner K

## Slide 6: Problems with Current Design
Ease of use
  Multiple hands to operate
  Complex control system
Restrictions of mechanical movement
  Less precision
  Limited ROM
Increased procedure time
Notes: Erin

## Slide 7: Relevance
Revolutionizing healthcare field from a procedural standpoint
  Decreasing procedure time
  More precise, hand-held catheter
  Improving patient outcomes
  Cost of magnetic, automated catheters $1.2-1.5 million
    Target cost of our design ~$200
Notes: Zane

## Slide 8: A way to improve the usability and actuation of steerable catheters controlled by surgeons to increase surgical accuracy and decrease procedural time.
Notes: ZANE!!!! Close out.